YORK DIOCESAN ADVISORY COMMITTEE

DECLARATION FOR ELECTRICAL CONTRACTORS FOR

LIGHTING, POWER, AND HEATING INSTALLATIONS

Further information may be given on a separate sheet if required

Parish …		Dedication of Church

Electrical Contractor	Name 		Company

Address

Telephone 	E-mail

Inspecting Architect	Name

Address

Telephone 	E-mail

The following must be submitted with the Petition for Faculty:

a) 	Plan and Section, roughly to scale, indicating the location of the service entry, switchgear, consumer units/distribution boards, all luminaires (with beam direction if appropriate), heaters, cable runs, and lighting/heating switches, relays and contactors.

b)	A full specification, describing the proposed works and materials/equipment to be used, including (for lighting schemes) an illumination (isolux) diagram that conforms to the CIBSE guidance given in the book Church Lighting, by Peter Jay and Bill Crawforth, Church House Publishing 2001, ISBN 0171517584X.

c)	Copies of the catalogue illustrations of the luminaires/heaters to be used, indicating the body colour of the luminaires and the type, wattage and colour rendering of their lamps.

d)	Where a new supply cable is to be installed, a diagram of the cable route.

The following is a statement of the of the minimum requirements usually expected by the DAC as a minimum standard for a scheme to be supported:

a)	Cable laid in contact with dry wood (ancient beams or woodwork, wooden pews, etc) or close to pipe organs, should comply with the requirements given in the relevant part of the BS EN 60332-3 series. If surface mounted they must respect the aesthetics of the building, under the architect’s direction, and where relevant be painted in a water-based paint to match the background.

b)	The installation is to comply in all respects with the current edition of the IET Wiring Regulations (BS7671). Where low-voltage tungsten halogen luminaires are to be used, the voltage must be to the manufacturer’s specifications and within the prescribed levels.

c)	Where a transformer or choke is used in a church, there should be no audible hum.

d)	Where there are surface-mounted power socket outlets in a church, they are to be in metal, with a satin-finish switchplate. The same applies to lighting circuit switches.

e)	Although this form is not normally required for a sound reinforcement system unless a new power supply is necessary, where an induction loop is in place or likely to be installed, new cabling must be routed appropriately and of a type not to cause electromagnetic inference.

If you are not intending to abide by these requirements, what modifications do you propose to make, and why?

The Insurers stipulate Full Competence accreditation. Are you registered with:

a)	NICEIC (Approved Contractor)		Yes/No

b)	NAPIT (full Scope)		Yes/No

c)	ECA (Full Competence)		Yes/No

Have you read Lighting and Wiring in Churches as mentioned in 4b. above? 	Yes/No

Is a new supply cable proposed?			Yes/No

If Yes please describe its route and means of entry to the building

If No, are you satisfied with the existing arrangements and apparatus for earthing?	Yes/No

Is any cable to be laid in the churchyard?			Yes/No

If Yes, please give details of cable type and depth and route of any trench, including a diagram:

(a)	Have you discussed the installation with church Inspecting Architect?	Yes/No
(b)	Will you supervise, with the architect, its installation?			Yes/No

Please give details of the cables you intend to use

(a)	Will holes be made in piers, or fittings attached to them?			Yes/No
(b)	Will holes be drilled in woodwork?			Yes/No
(c)	Will chases be cut in stonework, plaster or brickwork?			Yes/No
(d)	Will wiring be fixed over or near carvings, painting, mouldings, 
	or any area of plain or decorated stonework, plaster or brickwork?	Yes/No

If Yes to questions 12 (a) to (d), please give details

Is any external lighting or floodlighting proposed?			Yes/No

If Yes, please give details

Please give details of any final ring or radial circuits and their protection

(a)	Are you issuing an Electrical Installation Certificate to BS7671?	Yes/No
(b)	If you are issuing only a Minor Electrical Installation Works certificate, are you 
	satisfied as to the acceptable condition of the installation to be extended?	Yes/No
(c)	On what date did the installation last receive an Electrical Installation Condition 
	Report (EICR), or Periodic Inspection Report (if applicable)? …………………………………….

Will you be providing a manual giving installation details, including any EICR and Test and Inspection reports, for use by the church authorities and by other contractors?	  Yes/No

Have you considered the need for surge protection devices?			Yes/No

Signed 		. (on behalf of the contractor) Date

Address

Telephone 	E-mail

On completion, this form should be returned to:

The Church Buildings Adviser	Tel: 01904 699523

Diocese of York	 E-mail: keith.halliday@yorkdiocese.org

Amy Johnson Way

Clifton Moor

York

YO30 4XT	[electrical declaration 2002:rev DH-R i.2013

:rev CLC vii.2020]